AMERISTAR PERIMETER SECURITY

ECHELON® Residential - Aluminum Ornamental Fence System – Internally Secured

Construction Specification - SECTION 32 31 19

PART 1 - GENERAL

1.01 WORK INCLUDED

The contractor shall provide all labor, materials and all necessary items for the installation of the Echelon® Residential ornamental aluminum fence system defined herein at (specify project site).

1.02 RELATED WORK

Section _ _ _ - Earthwork

Section _ _ _ - Concrete

1.03 SYSTEM   DESCRIPTION

The manufacturer shall supply a total ornamental aluminum fencing system of the Ameristar Echelon® (specify Classic™, Majestic™, Genesis™, Conqueror™, Monarch Pool™, Majestic Pool™, Conqueror Pool™) design.  The system shall include all components (i.e., pickets, posts, rails, gates and hardware) required.

1.04 QUALITY ASSURANCE

The contractor shall provide laborers and supervisors who are thoroughly familiar with the type of construction involved and the materials specified.

1.05 REFERENCES

- ASTM B117 - Practice for Operating Salt-Spray (Fog) Apparatus.

- ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles and Tubes.

- ASTM D523 - Test Method for Specular Gloss.

- ASTM D822 - Practice for Conducting Tests on Paint and Related Coatings and Materials using Filtered Open-Flame Carbon-Arc Light and Water Exposure Apparatus.

- ASTM D1654 - Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments.

- ASTM D2244 - Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates.

- ASTM D2794 - Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact).

- ASTM D3359 - Test Method for Measuring Adhesion by Tape Test.

- AAMA 2603 - Voluntary Specification, Performance Requirements & Test Procedures for Pigmented organic Coatings on Aluminum Extrusions and Panels.

1.06 SUBMITTAL

The manufacturer's submittal package shall be submitted prior to installation to confirm compliance with all requirements for materials specified in this section.

1.07 PRODUCT   HANDLING   AND   STORAGE

Upon receipt at the job site, all materials shall be checked to ensure that no damages occurred during shipping or handling.  Materials shall be stored in such a manner to ensure proper ventilation and drainage and to protect against damage, weather, vandalism and theft.

PART 2 - MATERIALS

2.01 MANUFACTURER

The ornamental fence system shall conform to Ameristar’s Echelon aluminum ornamental fencing, (specify Classic, Majestic, Genesis, Conqueror, Monarch Pool, Majestic Pool, Conqueror Pool) 3-rail style manufactured by Ameristar Perimeter Security USA Inc., in Tulsa, Oklahoma.

2.02 MATERIAL

A.  Aluminum material for fence framework (i.e., tubular pickets, rails and posts) shall conform to the requirements of ASTM B221.  The aluminum extrusions for posts and rails shall be Alloy and Temper Designation 6005-T5.  The aluminum extrusions for pickets shall be Alloy and Temper Designation 6063-T6.

B. Pickets shall be 5/8" square x .050" thick.  Horizontal rails shall be 1" x 1-1/8” Forerunner™ channel with .055" thick top & internal web wall, and .072" thick side walls and shall be punched to allow picket to pass through the top of the rail.  The Forerunner rail shall be constructed with an internal web insert providing a raceway for the pickets to be retained with a 1/8” retaining rod.  Fence posts and gate posts shall meet the minimum size requirements of Table 1.

C. Accessories: Aluminum castings shall be used for all post caps, scrolls, finials, and other miscellaneous hardware.  Hinges and latches shall be fabricated from aluminum, stainless steel or composite materials.

2.03 FABRICATION

A. Pickets, rails and posts shall be pre-cut to specified lengths.  ForeRunner rails shall be pre-punched to accept pickets.  Grommets shall be inserted into the pre-punched holes in the rails and pickets shall be inserted through the grommets so that pre-drilled picket holes align with the internal upper raceway of the ForeRunner rails (Note: This can best be accomplished by using an alignment template).  Retaining rods shall be inserted into each ForeRunner rail so that they pass through the pre-drilled holes in each picket, thus completing the panel assembly.  Panels to be preassemble by manufacturer.

B.  The manufactured framework shall be subjected to the Ameristar thermal stratification coating process (high-temperature, in-line, multi-stage, and multi-layer) including, as a minimum, a six-stage pretreatment/wash and an electrostatic spray application of a polyester finish.  The topcoat shall be a “no-mar” TGIC polyester powder coat finish with a minimum thickness of 2 mils (0.0508mm).  The color shall be (specify Black, Bronze, or White).  The stratification-coated framework shall be capable of meeting the performance requirements for each quality characteristic shown in Table 2.

E.  Swing gates shall be fabricated using Echelon Forerunner rail material, 1.25” sq. x .125” gate ends, and 5/8” sq. x .050 pickets.  All rail and upright intersections shall be joined by welding.  All picket and rail intersections shall also be joined by welding.

PART 3 - EXECUTION

3.01 PREPARATION

All new installation shall be laid out by the contractor in accordance with the construction plans.

3.02 FENCE INSTALLATION

Fence post shall be spaced according to Table 3.  For installations that must be raked to follow sloping grades, the post spacing dimension must be measured along the grade.  Fence panels rails shall be inserted into punched posts and affixed with fasteners.  Posts shall be set in concrete footers per manufacturers recommended (Note:  In some cases, local restrictions of freezing weather conditions may require a greater depth).  The “Earthwork” and “Concrete” sections of this specification shall govern material requirements for the concrete footer.  Posts setting by other methods such as plated posts or grouted core-drilled footers are permissible only if shown by engineering analysis to be sufficient in strength for the intended application.

3.03 FENCE INSTALLATION MAINTENANCE

When cutting/drilling rails or posts adhere to the following steps to seal the exposed surfaces; 1) Remove all metal shavings from cut area.  2) Apply custom finish paint matching fence color.  Failure to seal exposed surfaces per steps 1 & 2 above will negate warranty.  Ameristar spray cans or paint pens shall be used to finish exposed surfaces; it is recommended that paint pens be used to prevent overspray.  Use of non-Ameristar parts or components will negate the manufactures’ warranty.

3.04 GATE INSTALLATION

Gate posts shall be spaced according to the manufacturers’ gate drawings, dependent on standard out-to-out gate leaf dimensions and gate hardware selected.  Type and quantity of gate hinges shall be based on the application; weight, height, and number of gate cycles.  The manufacturers’ gate drawings shall identify the necessary gate hardware required for the application.  Gate hardware shall be provided by the manufacture of the gate and shall be installed per manufacturer’s recommendations.

3.05 CLEANING

The contractor shall clean the jobsite of excess materials; post-hole excavations shall be scattered uniformly away from posts.

| Table 1 – Minimum Sizes for Echelon Posts |
| --- |
| Fence Posts | Panel Height |
| 2” x 2” x .060” | Up to 6’ Height |
| Gate Leaf | Gate Height |
|  | Up to & Including 4’ |
| Up to 6’ | 2” x 2” x .125” Alum. |

| Table 2 – Coating Performance Requirements |
| --- |
| Quality Characteristics | ASTM Test Method | Performance Requirements |
| Adhesion | D3359 – Method B | Adhesion (Retention of Coating) over 90% of test area (Tape and knife test). |
| Corrosion Resistance | B117 & D1654 | Corrosion Resistance over 1000 hours (Scribed per D1654; failure mode is accumulation of 1/8” coating loss from scribe or medium #8 blisters). |
| Impact Resistance | D2794 | Impact Resistance over 60 inch lb. (Forward impact using 0.625” ball). |
| Weathering Resistance | D822, D2244, D523 (60˚ Method) | Weathering Resistance over 1,000 hours (Failure mode is 60% loss of gloss or color variance of more than 3 delta-E color units). |

| Table 3 – Echelon – Post Spacing (punched posts) |
| --- |
| Span |  |
| Post Size | 2” |
| Post Settings | 72” o.c. |
| *Note: When using swivel brackets on either or both ends of a panel installation, care must be taken to ensure the spacing between post and adjoining pickets meets applicable codes. This will require trimming one or both ends of the panel. |